TODO List

Largest object can be scanned

Scanning: 	Diameter: 22.5cm.  Max. Height: 17.5cm.

Time to scan an object - does it differ or same for any object

The scanning time is same for any object. It is only a function of imaging detail accuracy.

Time to scan: 12m30s

Dots formed: 116257

Surface Area of Box: A (6.3cm, 8.5cm, 11.9cm) - 6.3cm x 8.5cm

Height 11.9

6.3x8.5+2*(11.9x6.3+11.9x8.5)=405.79

286

Precision of scan - dots per cm^2

= Dots formed / Surface Area of Box.

Hardware:

*  Calibration Data

*	Step Size 	Steps per Revolution

*	40        	160

Dimensions: 	Depth: 	28.8cm; Height: 35.8cm; Width: 49.0cm.

Weight:	1.34kg.

Pictures:

USB cables - I might have 1 but send one just in case?

Scanner connected to laptop - basically scan in progress

Mug sitting on the plate

Point cloud - normal, rotate, zoom

normal

rotated

Zoomed out

Zoomed into

Zoomed into so much that its like ur eyeballs are inside that cup, you can only see half of the cup.

Scanning an object of 22.5 diameter and 17.5 height (or one for each limit)

Extras.